Project co-financed by EU

FINAL ACCEPTANCE CERTIFICATE

Contract No ° IPA4.1.3.1.03.02.c05                                            Title  supply contract of equipment for hydroponic cultivation

Contractor: …………………………	                                  Beneficiary Gospodarska škola Čakovec

Public institution

Vladimira Nazora 38

40 000 Čakovec, Croatia

VAT: 38837480958

|  | Lot 1: građevinski radovi za plastenik tip „multipla“ broj; Opis opreme; dostava; instalacija; Rezervni dijelovi; Upute-priručnik; edukacija; primjedbe. Lokacija: ČAKOVEC. A.); ZEMLJANI RADOVI. 1.; Iskolčenje objekta i geodetsko snimanje kod planiranja terena i iskopa temeljnih stopa broj temeljnih stopa kom = 48; kpl; 1. 2.; Strojno skidanje humusa d=20- 0 cm sa odlaganjem iste kraj objekta; m3; 100. 3.; Dovoz i razastiranje šljunka ili zemlje s grubom izvedbom padova; m3; 60. 4.; Strojno niveliran e i uvaljavanje zemlje i šljunka a prema padovima objekta i po projektu.; m2; 400. 5.; Strojni iskop rupa za temeljne stope u terenu 3-4. kategorije sa odvozom iskop.materijala pokraj objekta. Stope su dim. 40×40×50 cm broj temeljnih stopa kom = 48; kom; 48. 7.; Kopanje kanala 40x50cm za odvodnju procijednih voda i tehnoloških voda iz plastenika u terenu 3-4.kategorija sa odvozom viška iskopanog materijala pokraj objekta; m3; 2. 8.; Dobava pijeska i izvedba piješčane posteljice padu, za polagan e kanalizac; jskih cijevi m3; 0,4. 9.; Zatrpavanje položenih kanalizacijskih cijevi i PE cijevi sa zemljom od iskopa. U cijeni uključeno i strojno nabijanje.; m3; 1,4. 10.; Dobava, razastiranje i fino planiranje pijeska u sloju d=5 cm kao podloge u plasteniku i valjanje iste za polaganje folije i betonskih ploča.; m2; 400. 11.; Strojni plitki iskop d=20cm za izvedbu AB komunikacijske staze i AB ploču tehnološkog prostora, sa odlaganjem zemlje kraj objekta.; m3; 17. 1 .; Strojni plitki iskop zemlje; d=20cm š=100cm za stazu oko plastenika, sa odlaganjem iste kraj objekta. m3; 11,2. 13; Dobava šljunka i razastiranje u sloju d= 20 cm kao podloge AB komunikacijskih staza š=2m i stazu oko plastenika š=1m. U cijeni uključeno i strojno nabijanje.; m3; 28; 2. 14.; Strojni iskop zemlje 3. kategorije za upojni bunar , te dobava i polaganje b tonske kanalizacijske cijevi Ø100cm.; kpl; 1. 15.; Dobava šljunka i zatrpavanje upoj og bunara krupni šljunkom.; m3; 1,5. B.) BETONSKI RADOVI. 1.; Betoniranje temeljnih stopa podložnim betonom MB 15 d=10cm . Izvesti u padovima prema projektu.; m3; 0,768. 2.; Betoniranje temeljnih stopa, betonom MB 20 nakon postavljanja i centriranja konstrukcije plastenika. U cijenu uključena pomoćna oplata.; m3; 3,0; 2. 3.; Izvedba A.B. temeljne grede 0,25×0,3×4m ,sa ugradnjom vodilice za klizna vrata. U cijeni uključen beton MB 20 i armatura.; m3; 0,6. 4.; Izvedba komunikac. staza š=2m i ploče u tehnološkom objektu od bet. Ploča dim. 50x50x5cm na pripremljenu podlogu te rubnjacima dim. 6x20x100cm , te fugiranje fuga .Podloga se izvodi od sloja šljunka i pijeska 0-4mm.Prema opterečenju se dodaje potrebna armatura.; m2; 85. 5.; Dobava i ugradnja betonskih rubnjaka dim: 6x25x100cm na podložni beton MB15 debljine 20cm, radi dobivanje čiste dubine bazena od 25cm.U cijenu uključeno prokopavanje šljunčane podloge za podložni beton i fino zaglađivanje istoga na stranama gdje naliježe folija bazena.; mt; 4. 6.; Dobava i polaganja 200g. Geotextila kao zaštitne podloge folije za bazen. U cijni uračunati preklopi 15cm.; m²; 124. 7.; Dobava i polaganje bazenske folije d=500mm UV zaštićene u svjetlo-plavoj boji.; m²; 175. LOT 1: Construction work to build a greenhouse-type "multiple" 1.Number; 2. Specifications Required; Delivery; Installation; Spare Parts; Manuals; Training; Remarks. Location: ČAKOVEC. A.); CLAY WORKS. 1.; Staking out the object and geodetical scanning by planning the field and dig of basic foot Number of basic foots units; 48 set; 1. 2.; Taking off humus by a machine d=20-30 cm with disposal by the object; 3; 100. 3.; Admitting and shedding of boulder or clay with rough performance of downfall; m3; 60. 4.; Tilting and rolling clay and boulder to downfalls of object according to the project; m2; 400. 5.; Machine dig of holes for basic foots in the field of 3-4. categorie with driving away digged material by the object. dim of the foots 40×40×50 cm Number of basic foot s units = 48; units; 48. 7.; Digging a canal 40x50cm for drainage of drainging and technological water from the greenhouse in the field 3-4.categorie with driving away surplus of digged material by the object; m3; 2. 8.; Supply of sand and performance of sand bed in the downfall, for laying down of canalizational pipes; m3; 0,4. 9.; Covering the canalizational pipes and PE pipes with digged clay. In price included machine tamping; m3; 1,4. 10.; Supply, shedding and fine planning of sand in layer d=5 cm as basecoat of the greenhouse and rolling in order to install the film and concrete panels.; m2; 400. 11.; Machine shallow excavation d=20cm to perform AB comunicational path and AB board of technological space, with laying down clay by the object.; m3; 17. 12.; Machine shallow excavation d=20cm w=100cm for the path around the greenhouse, with laying down by the object.; m3; 11,2. 13.; Supply and shedding of boulder in layer d= 20 cm as a basecoat AB of communicational paths w=2m and path around the greenhouse w=1m. In the price is also machine tamping; m3; 28,2. 14.; Machine excavation of clay 3. categorie for absorbing well , and supply and installation of concrete canalizational pipe Ø100cm.; set; 1. 15.; Supply of boulder and covering absorbing well with massive boulder.; m3; 1,5. B.) CONCRETE WORKS. 1.; Concrete- work of the basic foots with concrete base MB 15 d=10cm . Perform in downfalls according to the project.; m3; 0,768. 2.; Concrete- work of the basic foots, with concrete MB 20 after installation and centring of construction of the greenhouse. In the price is accessary formwork.; m3; 3,072. 3.; Performance of A.B. basic balk 0,25×0,3×4m , with installation of driver for glideing door. In the price are concrete MB 20 and armature.; m3; 0,6. 4.; Performance of communicational paths width=2m and concrete board in technological object board dim. 50x50x5cm on prepared base and edges dim. 6x20x100cm , and fuguiring of fugues. Base consists layers of boulder and sand 0-4mm. According to burden necessary armature is added.; m2; 85. 5.; Supply and installation of concrete edges dim: 6x25x100cm on basic concrete MB15 20cm thick, in order to obtain clear depth of the 25cm pool. In the price is also digging through boulderly base for basic concrete and fine smoothing of it, on the side where lies the pool film.; Peaces in m; 94. 6.; Supply and laying down 200g. Geotextil as protecting bottom for film for the pool. In the price are included overlapping 15cm.; m²; 124. 7.; Supply and installation of the pool film d=500mm UV protected in light-blue color.; m²; 175. LOT 2-GRUPA2: PLASTENIK broj; Opis opreme; dostava; instalacija; Rezervni dijelovi; Upute-priručnik; edukacija; primjedbe. 1.; Konstrukcija, lukovi, stupovi, razupore, zatege, ank ri; kpl; 21,0. 2.; Pojačanja za lukove Pojačanje "V"; kpl; 21,0. 3.; Dijagonale, ukručenja, krovne; kom; 12,0. 4.; Dijagonale, ukručenja, bočne; kom; 16,0. 5.; Dijagonale, ukručenja, čelne; k m; 8,0. 6.; Čelne stranice s vratima 2,0 x 2,86m, klizna, polik.10mm Obloga: polik.6mm; kom; 2,0. 2,0x2,56m.,klizna, polik.10mm. Obloga: folija – unuta nja pregrada; kom; 1,0. 7.; Aluminijski profil kut i, veliki; m´; 34,0. 8.; Bočne ventilacije Sokl folija 1,0m dupli al. pr.; m´; 80,0. 9.; Motoreduktor za bočne ventilacije. 0,18kW-0,25HP,1 os.do 50 m,1:309; kom; 4,0. 10.; Dodaci motoreduktora za bočne ventilacije Fiksno polje za motore . h=2,20m; kom; 4,0. Teleskopska o ovina L=1,20m, h=2,20m; kom; 4,0. 11.; Automatika za bočne ventilacije Za 4 motored.-2 zone+anemomet.; kom; 1,0. 12.; Fiksno polje Polik.4 mm - za ravni pl st.h=3,20m; kom; 6,0. 13.; Krovna Ventilacija Za dužine do 40 m; m´; 40,0. 14.; Motoreduktor za krovne ventilacije 0,18kW-0,25HP, do 40m- MRA 63 5 os.; kom; 2,0. 15.; Automatika za krovne ventilacije Za 2 motored.-2 zone+anemomet.; kom; 1,0. 6.; Pokrov : dvostruka Patilux folija; m2; 1.386,0. 17.; Plastični profili; m´; 314,0. 18.; Ventilator za napuhavanje duple folije Kompl.presost. 2 bypassa; kom; 1,0. 19.; Termogen za grijanje kao Combiterm 60E Plamenik na plin; kom; 2,0. 20.; Dodaci za termogen. Ovjesni pribor; kom.; 8,0. Dodatna cijev; kom; 2,0. Pribor za priključak termog.; kpl.; 2,. Puštanje rad termogena; kpl.; 2,0. 21.; Ostalo. Spajanje motoreduktora i automatike. elektr materijal; kpl; 12,0. Konstrukcija za visoke k lture-cijev. o40, spojnice, žica, španeri; m2; 200,0. Energetska zavjesa XLS 15 – 0%; m2; 650,0. Konstruk.za autom.zasjenjiv.. sa sajlama; m2; 400,0. Motoreduktor za avjesu; kom; 2,0. Autom.sa lux sondom; kom; 2,0. Glavni razvodni ormar sa osiguračima. i sklopkama; kpl; 2,0. 22.; Transport, špedicija, montaža i edukacija korisnika i sve marže. LOT 2: GREENHOUSE 1.Number; 2. Specifications Required; Delivery; Installation; Spare parts; Manuals; Training; Remarks. 1.; Construction, arches, piles, braces,; anchers set; 21,0. 2.; Support for the arches Support "V"; set; 21,0. 3.; Diagonals, bracing, roof; units; 12,0. 4.; Diagonals, bracing, side; units; 16,0. 5.; Diagonals, bracing,front; units; 8,0. 6.; Front sides with doors. 2,0 x 2,86m, sliding, polik.10mm. Overlay: polik.6mm; units; 2,0. 2,0x2,56m.,gliding, polik.10mm.. Overlay: film – inner paravan; units; 1,0. 7.; Aluminum profile corner, large; m´; 34,0. 8.; Side ventilation. Sokl film 1,0m dubble al. pr.; m´; 80,0. 9.; Motorspeedreducer for side ventilations. 0,18kW-0,25HP,1 os.do 50 m,1:309; units; 4,0. 10.; Addition of motorspeedreducer for side ventilation. Fixed field for motorspeedreducer h=2,20m; units; 4,0. Telescopical spindle L=1,20m, h=2,20m; units; 4,0. 11.; Automatism for side ventilation. for 4 motorspeedreducer.-2 zones+anemomet.; units; 1,0. 12.; Fixed field. Polik.4 mm - for flat greenhouse h=3,20m; units; 6,0. 13.; Roof ventilation. lenght to 40 m; m´; 40,0. 14.; Motorspeedreducer for roof ventilation. 0,18kW-0,25HP, do 40m- MRA 63/5 os.; units; 2,0. 15.; Automatism for roof ventilation. Za 2 motored.-2 zone + anemomet.; units; 1,0. 16.; coverage : double. Patilux film; m2; 1.386,0. 17.; Plastic profiles; m´; 314,0. 18.; Ventilator for blowing doubble film. Kompl.presost.i 2 bypassa; units; 1,0. 19.; Heat termogen. Combiterm 60E. Gas burner; units; 2,0. 20.; Termogen addition. suspension kit; units; 8,0. Additional pipe; units; 2,0. Termogen plugging kit; set; 2,0. activation of termogen; set; 2,0. 21.; Other. Connecting motorspeedreducer and automatcs. Electromaterial; set; 12,0. High cultures construction – pipe. o40, connectors, wire, tensioners; m2; 200,0. Energetic curtain XLS 15 – 50%; m2; 650,0. Construction for autom.shading. With sling; m2; 400,0. Motorspeedreducer for curtain; units; 2,0. Autom.with lux sonde; units; 2,0. Main dividing closet with security fuses. And switches; set; 2,0. 22.; Transport, forwarding, montage and education of users and all margin. Dvostruka folija koja će se koristiti za pokrivanje mora biti : minimalnih karakteristika u skladu s standardima EN 13206, 2002. Zahtijevane specifikacije. IZGLED I DIMENZIJE; MJERA; IZNOS; METODA. Nazivna debljina; Mikron; 200; ISO 4593. Širina; M; 1,5 – 14,00; ISO4592. Izgle; standard; 8.1 EN 3206. Tolerancija nazivne debljine; %; +-5; ISO4593. Tolerancija širine; %; 0:+2; ISO4592. MEHANIČKA SVOJSTVA. Prekidna čvrstoća do kidanja po dužini i širini; Mpa; >22; EN ISO 527-3. Izduženje do trenutka kidanja po dužini i širini; %; >600. Otpornost na udar leda padajuće brzine 20 m/s ravno; cN; >500; Int. Method (IO 82.4002). Otpornost na udar leda padajuće brzine 20 m/s savije o; cN; >350. OPTIČKA SVOJSTVA. Ukupna propusnost sunčevog svjetla (400-700nm); >88; EN 2155-5. Difuzija svjetl (% of PA ); <20; EN 2155-9. Valne dužine UV zračenja (280-380nm); %; >10. IR plastenički efekt; >60; 8.9 EN 13206. Relativna propusnost svjetla; DA. OSTALA SVOJSTVA. Specifična težina; g/m2; 186; Int. Method. Svojstvo varenja – ljepljen a; DA. Vrijeme trajanja; E- 4 godine; EN13206. Termogen za grijanje sa plamenikom na plin minimalnih kapaciteta: Zahtijevane specifikacije. Termogen za grijanje Plamenik na plin k m 2,0. minimalnih kapaciteta:. Snaga; kW; 60. toplinske učinkovitosti; %; 90. Snaga ventilatora; kW; 0,5. Kapacitet puhan a ventilatora; m3/h; 4900. Statički tlak; Pa; 60. Temperaturna razlika; Co; 35. Električni napon; V; 230/400. Polje primjene; Co; -20 do +50. Double film which will be used as covercoat: -minimum characteristics according to standards EN 13206, 2002. Specifications requested. APPEARANCE AND DIMENSIONS; SCALE; AMOUNT; METHOD. Thickness; Mikron; 200; ISO 4593. Width; M; 1,5 – 14,00; ISO4592. Appearance; standard; 8.1 EN 13206. Tolerance thickness; %; +-5; ISO4593. Broadness tolerance; %; 0:+2; ISO4592. MECHANICAL CHARACTERISTICS. Solidness till rupture by lenght and width; Mpa; >22; EN ISO 527-3. Prolongation till rupture moment by lenght and width; %; >600. Impedance to ice impact with falling speed 20 m/s straight; cN; >500; Int. Method (IO 82.4002). Impedance to ice impact with falling speed 20 m/s bended; cN; >350. OPTICAL CHARACTERISTICS. Total penetration of sunlight (400-700nm); >88; EN 2155-5. Light difusion (% of PAR); <20; EN 2155-9. Wave lenght UV ray (280-380nm); %; >10. IR greenhouse effect; >60; 8.9 EN 13206. Relative light penetration; yes. OTHER CHARACTERISTICS. Specific weight; g/m2; 186; Int. Method. Characteristic welling – glueing; yes. Duration time; E- years; EN13206. Heat termogen with gas burner - minimum capacity: Specifications requested. Heat termogen: greenhouse gas burner units 2,0. Minimum capacity:. Power; kW; 60. Heating efficiency; %; 90. Power of ventilator; kW; 0,5. Blowing capacity of ventilator; m3/h; 4900. Static pressure; Pa; 60. Temperature difference; Co; 35. Electric voltage; V; 230/400. Field of use; Co; -20 do +50. LOT 3-GRUPA3: Specifikacija opreme za hidroponski i floating uzgoj povrća u plasteniku broj; Opis opreme; dostava; instalacija; Rezervni dijelovi; Upute-priručnik; edukacija; primjedbe. A.) CENTRALNA STANICA ZA PRIPREMU OTOPINE. 1.; MINI Fertirigator mod kao DOSAJET mod A-2CDXM-70/20 (2,0kw), kontrola PHx1, kontrola ECx1, doziranje 2 tipa hranjiva + 1 kiselina, upravljanje sa 8 elektromagnetna ventila, bez fotoradiometrijske i drenažne sonde.; kom; 1. 2.; Drenažna sonda; kom; 1. 3.; Fotoradiome rijs a sonda; kom; 1. 4.; Spremnik za otopinu od 2000 l sa poklopc m; kom; 1. 5.; Pumpa CPm 25/160B - 100L-30m-1,1kw; kom; 1. 6.; Cilindrični spremik za otop ne 500L s poklopcem; kom; 3. 7.; Set za spajanje spremnika (filter,venti ,spo nice i flex. cijevi); kpl; 3. 8.; Filter ø1 " ( 120 mesh ); ko; 1. 9.; Filter ø1 1/2 " ( 120 mesh ); k m; 1. 10.; Elektromagnetni ventil 1" / 24V; kom; 1. 11.; Kuglasti ventil Ž-Ž 1 "-PVC; k m; 4. 12.; Spojna obujmica za DOZEJET Ø32x1"; kom; 2. 1 .; Spojni elektro materijal; paušal; 1. 4.; Spojni, pričvrsni i brtveni materijal; paušal; 1. B.) RAZVOD UNUTAR PLASTENIKA. 1.; Kuglasti ventil Ž-Ž 1 "PVC; kom; 2. 2.; E ektro agnetni ventil 1" / 24V; kom; 1. 3.; PE cijev ø 32 PN 4; m; 4. 4.; PEHD-PE80 cijev ø 32 PN 6; m; 10. 5.; PE-M spojn ca 32x1"; kom; 6. 6.; PE kolje o ø 32; kom; 4. 7.; PE spojnica ø 32; kom; 1. 8.; PE "T" ø 32; kom; 1. 9; PE čep ø32; kom; 1. 10.; PE obujmica 32x3/4" jednostrana; kom; 5. 1.; PE-PN10 koljeno M-Ž 3/4"; kom; 5. 12.; Ventil RME C/M ø 20×3/4"; kom; 5. 13; PE cijev ø 20 PN 4 crno/bijela; m; 90. 14.; Ventil RPP C/C ø 20; kom; 5. 15.; Kapaljka "J nior" CNL - utokompenz. 2 L/h; om; 51. 16.; Kapaljka "Junior" C L - autokompenz. 4 L/h sa razdjelnikom; kom; 204. 17.; Spojna cijev ø 3/5 mm-.ECOVAR-crna; m; 275. 18.; Nosač kapilare pvc; kom; 459. 19.; PE-PN4 spojnica ø 20; kom; 2. 20.; Bušač cijevi; kom; 1. 1.; Spojni, pričvrsni i brtveni mater jal; paušal; 1. C.) OPREMA ZA POLAGANJE PRESADNICA. 1.; Podna folija crno bijela 0,1 mm; m2; 210. 2; "Bomat" ploče 100 x 20 x 7,5 cm za dvored); kom; 68. 3.; "Bomat" ploče 100 x 15 x 7,5 c (za jednored); kom; 17. 4.; "Bomat" kocka 10x10x6,5 cm - 2 čepa; kom; 210. 5.; "Bomat" kocka 7,5x7,5x6,5 cm - 1 čep; kom; 53. 6.; Čep za "Bomat" kocke; kom; 567. 7.; Kanalice od polipropilena dim.7,5 x 30 x7,5 cm ( žičani držači nisu u cijeni ); m; 90. 8.; Poc.prirub ica ø60 a ispust kanalice; kom; 5. 9.; Podložni stiropor d=15mm , š=165mm; m; 90. 10.; Roler za povezivanje i polaganje rajčice; kom; 459. 11.; PVC kopča za vezanje rajčice ( 5/1 ) pak.=1000kom; paket; 2. D.) CIJEVI ZA ODVODNJU PROCIJEDNE OTOPINE. 1.; Kanalizacijska cijev ø 160 sa račvama; m; 12. E.) OPREMA ZA FLOATING. 1.; Centrifugalne pumpe od nehrđajućeg čelika,15 m³/h s 1,2 bar-0,75KW, s dijelom usisa i potisa, dijelom električnog upravljanja i izbornom sk opkom ručno uključi-isključi.; kom; 4. 2.; Cijevi za distribuciju svježe vode za punjenje bazena PVC Ø32 PN16, kompletno sa spojnicama za spajanje na instalaciju autoklava i odvojcima sa zapornim ventilima Ø32 za svaki bazen.; m; 40. 3.; Usisne cijevi od PVC-a Ø 63 s odgovarajućim priključcima.; m; 40. 4.; Potisne cijevi od PVC-a Ø 63 s odgovarajućim priključcima.; m; 40. 5.; Sekundarnih cijevi kao češalj od PVC-a Ø 32 dugačkih 4,5 m s odgovarajućim rupama, kompletiranih s konzolama i spojnicama za spajanje na glavnu potisnu cijev.; m; 80. 6.; Elek romagnetni ventil 11/2" / 24V; kom; 4. 7.; Kuglasti ventil Ž-Ž 1 "-PVC; kom; 4. 8.; Venturijeve cijevi od PVC-a DN 25.; kom; 4. 9.; Mjerač kisika u vodi Mjerno područje 0-45 mg kisika/l vode Zasićenost % 0-300 Temperatura ˚C 0-50; kom.; 1. 10.; Spojni, pričvrsni i brtveni materijal; paušal; 1. F.)Transport, špedicija, montaža i edukacija korisnika i sve marže. LOT 3: Specifications of equipment for hydroponic and floating growth of vegetables in the greenhouse Number; 2. Specifications Required; Delivery; Installation; Spare Parts; Manuals; Training; Remarks. A.) CENTRAL STATION FOR PREPARATION OFSOLUTION. 1.; MINI Fertirigator mod as DOSAJET mod A-2CDXM-70/20 (2,0kw), control PHx1, control ECx1, dosage 2 types of nutrition + 1 acid, management with 8 electromagnetic ventiles without fotoradiometrical and dreinage sonde.; Unit; 1. 2.; Dreinage sonde; Unit; 1. 3.; Fotoradiometrical sonde; Unit; 1. 4.; Reservoir for solution of 2000 l with the cap; Unit; 1. 5.; Pump CPm 25/160B - 100L-30m-1,1kw; Unit; 1. 6.; Cylindric reservoir for solutions 500L with the cap; Unit; 3. 7.; Set for connection of reservoir (filter,vent,connectors and flex. pipes); set; 3. 8.; Filter ø1 " ( 120 mesh ); Unit; 1. 9.; Filter ø1 1/2 " ( 120 mesh ); Unit; 1. 10.; Electromagnetic vent 1" / 24V; Unit; 1. 11.; Ball vent Ž-Ž 1 "-PVC; Unit; 4. 12.; Connecting embracer for DOZEJET Ø32x1"; unit; 2. 13.; Connecting electromaterial; Lump sum; 1. 14.; Connecting, tightening and jointing material; Lump sum; 1. B.) Separation in the greenhouse. 1.; ball vent Ž-Ž 1 "PVC; Unit; 2. 2.; E ectromagnetic vent 1" / 24V; Unit; 1. 3.; PE pipe ø 32 PN 4; m; 40. 4.; PEHD-PE80 pipe ø 32 PN 6; m; 10. 5.; PE-M connector 32x1"; Unit; 6. 6.; PE knee cap ø 32; unit; 4. 7.; PE connector ø 32; Unit; 1. 8.; PE "T" ø 32; Unit; 1. 9.; PE cap ø32; Unit; 1. 10.; PE embracer 32x3/4" onesided; Unit; 5. 11.; PE-PN10knee cap M-Ž 3/4"; Unit; 5. 12.; Vent RME C/M ø 20×3/4"; unit; 5. 13.; PE pipe ø 20 PN 4 black/white; m; 90. 14.; Vent RPP C/C ø 20; Unit; 5. 15.; Dropper "Junior" CNL - autokompenz. 2 L/h; unit; 51. 16.; Dropper "Junior" CNL - autokompenz. 4 L/h with divider; unit; 204. 17.; Connecting pipe ø 3/5 mm-.ECOVAR-black; m; 275. 18.; Carrier capilars pvc; unit; 459. 19.; PE-PN4 connector ø 20; unit; 2. 20.; Pipe driller; unit; 1. 21.; Connecting, tightening and jointing material; Lump sum; 1. C.) EQUIPMENT FOR DEPOSIT OF OVERSEEDLING. 1.; Floor film black-white 0,1 mm; m2; 210. 2.; "Bomat" board 100 x 20 x 7,5 cm (for two lines); unit; 68. 3.; "Bomat" board 100 x 15 x 7,5 cm (for one line); unit; 17. 4.; "Bomat" cube 10x10x6,5 cm – 2 caps; unit; 210. 5.; "Bomat" cube 7,5x7,5x6,5 cm - 1 cap; unit; 53. 6.; Cap for "Bomat" cubes; unit; 567. 7.; Hollow tile of polipropilen dim.7,5 x 30 x7,5 cm ( wired holders arent in the price ); m; 90. 8.; Poc. edger ø60 for hollow tile; unit; 5. 9.; Underlying styroform l=15mm , w=165mm; m; 90. 10.; Roller for bonding and deposit of tomatoes; unit; 459. 11.; PVC clutch for bonding tomatoes ( 5/1 ) pacagge.=1000 peaces; package; 2. D.) PIPES FOR DREINAGE OF SOLUTION. 1.; canalization pipe ø 160 pitchfork; m; 12. E.) FLOATING EQUIPMENT. 1.; Centrifugal pump of stainlessn steel,15 m³/h s 1,2 bar-0,75KW, with partial absorbation and push, partial electrical management and selective hand switch on/off.; unit; 4. 2.; Pipes for distribution of fresh water for filling the pool PVC Ø32 PN16, completely with connectors for connecting on instalation autoclave and extensions with cut-off vents Ø32 for each pool.; m; 40. 3.; Absorbing PVC pipes Ø 63 with attachments.; m; 40. 4.; Pushing PVC pipes Ø 63 with attachment; m; 40. 5.; Secundary pipes as PVC comb Ø 32 long 4,5 m with holes, completed with consoles and connectors to connect on main pushing pipe.; m; 80. 6.; Electromagnetic vent 11/2" / 24V; unit; 4. 7.; Ball vent Ž-Ž 1 "-PVC; unit; 4. 8.; Venturiuses PVC pipes DN 25.; unit; 4. 9.; Measure divice for oxigyen in the water Measurement area 0-45 mg oxiygen/lwater saturation % 0-300 Temperature ˚C 0-50; unit; 1. 10.; Connecting, tightening and jointing material; Lump-sum; 1. F.)Transport, forwarding, montage and educacation of users and all margins. LOT 4-GRUPA 4: Sijačica i oprema sijačice broj; Opis opreme; dostava; instalacija; Rezervni dijelovi; Upute-priručnik; edukacija; primjedbe. Sijačica mora biti dostupna kao samostojeći stroj s mogućnošću uključenja u proizvodnu liniju. Bubanj mora imati mogućnost sijanja linija za sjetvu u širokom rasponu, biti jednostavan za rukovanje i promjenu sjemena iz jedne vrste u drugu. Kontrolna ploča mora omogućavati jednostavno upravljanje proizvodnjom s jednog mjesta. Bubanj i valjak dibbler se moraju lako mijenjati za različite vrste sjemena i pritom ne zahtijevati posebne alate. Uz to mora imati još slijedeće tehničke karakteristike i mogućnosti:. Ostale opcije - Priključak za veći kapacitet zraka - silicijske mlaznice - sapnice za multi sjeme Uz osnovni stroj sijačicu isporučuje se i kompresor koji pokreće radni proces, a koji mora zadovoljiti minimalne tehničke karakteristike: - max.tlak (bar): 11 - napajanje (V/Hz): 400/50 - kapacitet zraka (litr/min.): 514 - elektromotor : 3 fazni (400 V) - rezervoar zraka (litara): 200; - polu-automatska sijačica s pneumatskim sustavom, pogodna za svaku vrstu saća i sjemena, bez obzira da li je golo ili peletirano, komplet sa automatskim diblerom - kompaktni stroj - automatska ladica - automatsko sjetva - automatski dibbler - promjenljiva brzina proizvodnje - varijabilni tlak vakuma za sjeme - podtlak - tlak za čišćenje mlaznica - 6 kompleta mlaznice različitih veličina - kućište je sastavljeno iz čeličnog ormara s vratima za internu pohranu. - značajke automatskog sustava s mogućnošću indeksiranja dibblera i sjetvenog mehanizma - automatsko pokretanje saća nakon sjetve, - vakumsko usisavanje sjemenja sa tzv. Venturi sistemom linija - aspirator za preostalo sjeme - pneumatski vibrator sjemena kod spuštanja u tanjur - saće - komplet dizni 0,20-0,25-0,30-0,35-0,40,0,45-0,50-0,60-0,70 - kapacitet redaka/ sati do 1700 - max dimenzije saća u koju se spušta sjeme u mm 600x400 kapacitet zraka l/min 120 max. Uz sijačicu tražimo i 2 različita kompleta za sjetvu sjemena kao U tip R84 (komada 1) i R209 (komada 1).. LOT 4: Sowing machine and equipment 1.Number; 2. Specifications Required; Delivery; Installation; Spare Parts; Manuals; Training; Remarks. The sowing machine must be available as selfstanding machine with the possibility of joining to production line. The drum must have a possibility of insemination lines for in broad range, be simple to use and changing the seeds from one species to the other. Control board must secure simple management with production from one place. The drum and the roller dibbler must be easily shifted for different species of seeds without the neecesity for other special tools. Also, it must have these characteristics. Other options - connection for larger air capacity - silicium jets - spray nozer for multi seed By the basic machine the compressor that runs working process is also being delivered, and has the following minimal technical characteristics: - max.pressure (bar): 11 - voltage (V/Hz): 400/50 - air capacity (litr/min.): 514 - electroengine: 3 phase (400 V) - air reservoar (liters): 200; - semi-automatic sowing machine with pneumatic system, pogodna for every kind of comb and seeds (naked or pelleting), in set with automatic dibbler - compact machine - automatic drawer - automatic insemination - automatic dibbler - shiftable speed of production - variable pressure of seed vacum - subpressure for cleaninig the jets - 6 complets of jet in different sizes - case consists of steel closet with doors for inner storage - characteristics of automatic system with the possibility of indexation of dibbler and sowing mechanism - automatic start of comb after insemination - vacuum suction of seeds with Venturius line system - aspirator for seed left overs - pneumathic vibrator of seeds at deposit in the comb - complete lifting 0,20-0,25-0,30-0,35-0,40,0,45-0,50-0,60-0,70 - capacity of lines/hours to 1700 - max dimensions of combs for the deposit of seeds mm 600x400 - air capacity l/min 120 max. By sowing machine, we are procuring 2 various sets for sowing seeds as U type R84 (1 unit) i R209 (1 unit).. LOT 5-GRUPA 5: Visokotlačni perač broj; Opis opreme; dostava; instalacija; Rezervni dijelovi; Upute-priručnik; edukacija; primjedbe. Mora imati minimalne karakteristike :. snaga 2,5kW; protok 500 l; tlak 120 bar-a; topla voda 90o C .. |
| --- | --- |

LOT 5: High pressure washer

| 1.Number | 2. Specifications Required | Delivery | Installation | Spare Parts | Manuals | Training | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Minimum characteristics required: |  |  |  |  |  |  |
|  | power 2,5kW; flow 500 l; pressure 120 bar-a; warm water 90o C . |  |  |  |  |  |  |

The Supplier has remedied any defect or damage occurred during the warranty period, as specified in the contract

Date of acceptance:………………….

The Contractor	The Beneficiary

Name	Name: Sabrina Blajda

Signature …………………………..	Signature …………………………..